## Slide 1: Boundary Detection / Image Reconstruction with Multple Spectral Acquisitions

## Slide 2: Simulator Setup
Code location: SPIE 2019 -> Boundary Fluorescence -> TumorIDSim
File: main_image_resolution
Spot size: 3mm
Laser settings: 0.2 amperes
Step size: 1mm, 2mm, 3mm
Reconstructed image is created pixel-by-pixel, where each pixel value is an average of all samples taken overlapping that pixel; the classifier value at each acquisition is the 500/545 intensity from the resulting spectra.

## Slide 3: Coarse Steps (3mm between spots)
Tissue A
Tissue B
Unclassified
Classified: A
Classified: B
True Tumor Boundary

## Slide 4: Medium Steps (2mm between spots)
Tissue A
Tissue B
Unclassified
Classified: A
Classified: B
True Tumor Boundary

## Slide 5: Fine Steps (1mm between spots)
Tissue A
Tissue B
Unclassified
Classified: A
Classified: B
True Tumor Boundary